## Slide 1: Exploring the Plasma Focus-From Electrodynamics to Radiative Collapse
S Lee1.2.3 and S H Saw1,2
1Inti International University, Nilai Malaysia
2IPFS, Melbourne, KL, Singapore
3University of Malaya, KL, Malaysia

## Slide 2: Computations suggest radiative collapse even in small PF devices, opening a new frontier in our multi-faceted numerical journey. This review starts from the basics, then touch on insights distilled by our efforts, and proceeds to the barely glimpsed world of radiatively-collapsed high energy density (HED) in the PF. A schematic of the talk is summarised in the figure below.

## Slide 3: Range of Plasma Focus machines
3 kJ machine
1000 kJ machine

## Slide 4
Plasma Dynamics in Plasma Focus
HV
30 mF, 15 kV
Inverse Pinch Phase
Axial Accelaration Phase
Radial Phase

## Slide 6: Emissions from the PF Pinch region
Mach500 Plasma stream
Mach20 anode material jet

## Slide 7: Plasma Focus- Numerical Experiments
Parameters of experiments
Capacitor bank parameters
Tube parameters
Operational parameters
Model parameters

## Slide 8: L0-C0-r0 Discharge

## Slide 9: Capacitor bank discharged into short-circuit
Capacitor Discharge
Bank parameters: L0, C0, r0 V0
Discharge characteristics:
L0-C0-r0 circuit, generates
Damped sinusoidal current
T=2p(L0C0)0.5
I0=V0/(L0/C0)0.5

## Slide 10: Plasma focus circuit

## Slide 11: Capacitor bank discharged into PF tube

## Slide 12: Capacitor bank- no load (SC) vs into PF tube

## Slide 13: Diagnostics from modelling: The Model Schematic

## Slide 14: THE PLASMA FOCUS
The PF is divided into two sections.
Pre-pinch (axial) section: Delays the pinch until the capacitor discharge approaches maximum current.
The pinch starts & occurs at top of the current pulse.
Equivalent to driving the pinch with a super-fast rising current; without necessitating fast line technology.
The intensity which is achieved is superior to even the super fast pinch.

## Slide 15: Two Main Phases of the Plasma Focus
Axial Phase
Radial Phase

## Slide 16: Schematic of Code
Computes:
Axial phase-snowplow model: 2 coupled equations-1 motion, coupled with 1 circuit. Incorporates mass swept-up fraction fm, and plasma current fraction fc. These model parameters account for all axial effects not specifically modelled.
Radial inward shock phase-, Shock Front-Current Sheet slug with thermodynamics: 4 coupled equations, 3 motion, coupled with 1 circuit; radial mass swept-up factor fmr and current factor fcr. These two model parameters are applied for the radial phases
Reflected Shock RS Phase
Pinch radiative phase, including plasma self-absorption & possibility of radiative collapse
Post-compression large radius axial phase

## Slide 17: Axial Phase (I) snow-plow model- 2 coupled equations for 2 variables z and I
Motion
Circuit

## Slide 18: Additional Equations
Temperature and density in axial phase are calculated using shock-jump equations
Tube voltage is calculated

## Slide 19: Analyse these 2 coupled Equations by dimensional analysis
Replace variables t, z, I by non-dimensionalised quantities as follows:
t=t/t0, z=z/z0 and i=I/I0 where
t0=(L0/C0)0.5 and I0 = V0/Z0 where Z0=(L0/C0)0.5 is the surge impedance.

## Slide 20: 2 Non-dimensionalised axial phase equations
Motion
Circuit

## Slide 21: Axial Transit Time & 2 scaling parameters
This process identifies the axial transit time as:
And two scaling parameters:  = (t0/ta) and
b=L0/La

## Slide 22: Radial Phase Slug Model

## Slide 23: Radial phase (II) – 4 coupled equations 4 variables rs, rp, zf and I
radial inward shock speed
Slug elongation speed
Radial Piston speed
Circuit

## Slide 24: Additional Equations for Radial Phase
Temperature & density are calculated using Shock-jump equations. Tube voltage is calculated.
Thermodynamics properties:- charge number, specific heat ratio are calculated using Corona Model
Critical correction for finite communication speed (small disturbance speed) – an algorithm is applied to make this all-important correction
The above are also applied in the Reflected Shock Phase (III)

## Slide 25: Normalisation of radial phase equations
 = t/to,  = I/Io as in axial phase but with s = rs/a, p = rp/a, f = zf/a ie. distances normalized to anode radius, instead of anode length.

## Slide 26: Normalised radial equations- 4 coupled equations for 4 variables
Radial shock motion
Elongation of slug
Radial piston motion
Circuit

## Slide 27: Characteristic radial transit time
Characteristic radial slug transit time revealed as:
2 scaling parameters
a=ta/tr

## Slide 28: Reflected Shock (III) Phase, 4 coupled equations for 4 variables, rr, rp, zf & I
Reflected shock speed
Piston Speed
Elongation Speed
Circuit

## Slide 29: Additional Equations for RS Phase
Same as for Radial Shock Phase

## Slide 30: Pinch Phase (IV) - 4 coupled equations with 4 variables - rp, zf , I & Q
Radiation-coupled Piston Speed
Pinch elongation- similar to earlier equation
Circuit – similar to earlier equation
Energy gain/loss Q coupled into dynamics

## Slide 31: Additional Equations-Pinch Phase
Density- use mass conservation
Temperature- use Bennett balance
Plasma Resistance- use Spitzer equation

## Slide 32: Additional Equations – Pinch Phase
Q has following components:
Joule heat- Use Ohm equation
Bremsstrahlung, recombination and line radiation- use respective radiation power equations; sum for total radiation power
Plasma self-absorption- computed using a schematic developed jointly with N A D Khattak

## Slide 33: Additional Equations- Pinch Phase
Characteristic radiation of a gas- Line radiation is integrated within a temperature window based on ionization levels; e.g. Ne SXR yield
Neutron yield- calculated using thermonuclear model + beam-gas target model (calibrated to globally measured yield curve)
Beam ions fluence, flux etc properties,
Fast Plasma Stream- computed from plasma inductive energy conversion.

## Slide 34: Post-Pinch axial phase (V)- 2 coupled equations with 2 variables
Similar to Axial Phase (I) with objective to complete the computed current waveform

## Slide 35: Integration of equations- scheme
t=0, set initial values for d2z/dt, dI/dt
Increment t, integrate for z and I, calculate new values for d2z/dt, dI/dt etc
Point-by-point sequentially, each phase below:
Axial phase
Radial inward phase
RS phase
Pinch phase
Post pinch large column axial phase

## Slide 36: Connecting code and reality- fitting the computed current waveform to the measured waveform
Fitting parameters:
axial phase: fm and fc
Radial phases: fmr and fcr

## Slide 37: Significance of Itotal current fitting
fm: mass swept up factor, axial phase
accounts for all effects affecting mass swept up (structure inclination, porosity, boundary layer etc)
fc: plasma current factor, axial phase
accounts for all effects affecting current flowing in the plasma (current leakage to backwall, shunting and fragmenting, CS inclination etc), defines the fraction of Itotal effectively driving the magnetic piston
fmr: mass swept up factor, radial phase
accounts for all effects affecting mass swept up (structure inclination, porosity, axial mass streaming etc)
fcr: plasma current factor, radial phase
accounts for all effects affecting current flowing in the plasma (current leakage to backwall, CS bifurcation, current constriction/disruption etc) defines the fraction of Itotal effectively driving the magnetic piston
We fit the computed Itotal waveform to the measured because the Itotal waveform is the one usually measured. Once the Itotal waveform is fitted by adjusting the 4 model parameters, the Iplasma waveform is also implicitly fitted.

## Slide 38: Fitting Procedure- the 5-point fit
The 5-Point Fit:
First, the axial model factors fm, fc are adjusted (fitted) until
  (1) computed rising slope of the Itotal trace and
  (2) the rounding off of the peak current as well as
  (3) the peak current itself
  are in reasonable (typically very good) fit with the measured Itotal trace.
Next, adjust (fit) the radial phase model factors fmr and fcr until
- (4) the computed slope and
- (5) the depth of the dip
agree with the measured Itotal waveform.

## Slide 39: Once fitted, the code outputs the properties of the PF

## Slide 40: Recent results from our numerical experiments suggest the possibility of radiative collapse (limited by plasma self-absorption) occurring in even small plasma focus devices. Hence a timely review of our numerical exploration of the multi-faceted world of the plasma focus is presented. This is meant to be a comprehensive wide-ranging survey of our numerical journey- starting from the basics, touching on insights distilled by our efforts, to the barely glimpsed world of radiatively-collapsed high energy density (HED) which our code is helping to reveal. A schematic of the talk is summarised in the figure below.

## Slide 41: Applications of the Code
Reference for diagnostics: dynamics, pinch size and lifetimes, SXR yields, neutron yields, ion beams and FPS; anomalous resistance, amplitudes and time scales-applied to many PF’s, including tapered PF, curved anodes and hemispherical anode
Design & optimization: UNU/ICTP PFF (network) , NX2, NX3, FMPF (Singapore), FNII (Mexico), UBA (Argentina), KSU (USA), FOFU (USA), other machines Chile, Iran, Syria etc, DuPF
Special designs: current-stepped PF, multi-MJ PF
ML: modification of code schematic to Filippov machines

## Slide 42: Insights from code
Current and neutron limitations as inductance is reduced towards small values e.g. 10 nH
Scaling properties of PF: speed, T, density
Scaling properties for SXR , neutron, beam ions & FPS
Scaling laws of SXR , neutron, beam ions (FIB) & Fast Plasma Streams (FPS)
Deterioration of neutron and radiation yield scaling
SFM- advantageous for materials deposition
Radiative cooling and collapse for HED

## Slide 43: Radiative Cooling and Collapse
Pease-Braginskii proposed the mechanism of radiative collapse for a Z-pinch in hydrogen - PS current is 1.4 MA
Our Radiation-coupled dynamic equation:
If we put the term dQ/dt=0, and consider the radiation part of Q to consist only of bremsstrahlung, then we have the P-B limit.

## Slide 44: Reduced P-B limit for high Z gases
For higher Z gases such as neon, line radiation predominates and since line radiation is many times more in power than bremstrahlung at PF conditions, the P-B limit current is reduced to less than 100 kA in the case of argon, Kr and Xe.
The code demonstrates radiative collapse in small devices, including the INTI PF.

## Slide 45: Bennett Pinch-Plasma Pressure balances Magnetic Field

## Slide 46: Radiative collapse starts- intense radiation cools plasma, leading to lower plasma pressure, dQ/dt term dominated by radiation

## Slide 47: Radiative collapse continues- plasma density increases, plasma begins to absorb its own radiation- becoming partially opaque to its own radiation

## Slide 48: Radiative collapse stops- plasma density is so high that plasma absorbs sufficient radiation from its volume to stop the radiative collapse

## Slide 49: Pinch expands- radiation becomes insignificant; Joule heating now dominates dQ/dt term

## Slide 50: Observation of radiative collapse in INTI PFCurrent fitting for 0.5 Torr Kr
Fig 1. Fitting the computed current trace to the measured current trace of INTI PF at 12 kV 0.5 Torr Kr (shot 631).

## Slide 51: Computed Radial Trajectory showing Radiative Collapse
Fig 2 shows the radial trajectory corresponding to the fitting of the current waveform of Fig 1 for INTI PF 12 kV, 0.5 Torr Kr.

## Slide 52: Correlating Radiative Collapse with Line Radiation Power Normalisation: I: 145 kA, kp: 0.0014, Pline: 3.7 TW

## Slide 53: Correlating RC Trajectory with Pline
The pinch compresses to a radius of 0.0013 cm; kp = 0.0014.
The radiative collapse is ended when plasma self-absorption attenuates the intense line radiation.
The rebound of the pinch radius is also evident.
This intense compression, reaches 3.7 × 1026 ions m-3, which is 15 times atmospheric density (starting from less than 1/1000 of an atmospheric pressure).
Energy pumped into the pinch is 250 J whilst 41 J are radiated away in several ns,
Most of the radiation occurs in a tremendous burst of 50 ps
Peak radiation power:- almost 4 × 1012 W.
The energy density at peak compression is 4 × 1013 J m-3 or 40 kJ mm-3.
Thus even in this small plasma focus intense HED is achieved with immense radiation power.

## Slide 54: PF1000- 23 kV 1.1 MA pinch current: Pinch radius ratio versus pressure: Comparison of code with time-resolved imaging- * from Experiments and Simulations on the Possibility of Radiative Collapse in the Plasma Focus PF-1000- M. Akel, J. Cikhardt, P. Kubes, H.-J. Kunze, S. Lee, M. Paduch, and S. H. Saw- PLASMA 2015, Warsaw, September 7-11, 2015

## Slide 55: Conclusion
Model:- phases, equations
Applications:- dynamics and properties, reference for diagnostics, design & optimisation,
Insights:- scaling properties & scaling laws for SXR, neutrons, FIB & FPS,
-deterioration of yield scaling
- Slow Focus Modes with advantages for materials deposition
-Radiative cooling and collapse for HED